## Integration
70 | Fmoc F3 F50
Sample Name: |  | Fmoc F3 F50 |  |  | Injection Volume: |  | 5
Vial Number: |  | RB3 |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-07 10:01 |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Height | Area | Rel.Area | Amount | Type
| min |  | mAU | mAU*min | %
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 0 | 0 | 0 | 0

## Calibration(Curr.Peak)
70 | Fmoc F3 F50
Sample Name: |  | Fmoc F3 F50 |  |  |  | Injection Volume: |  | 5
Vial Number: |  | RB3 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-07 10:01 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Cal.Type | Points | Coeff.Det. | Offset | Slope | Curve
| min |  |  |  | %
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Average: |  |  |  |  | n.a. | n.a. | n.a. | n.a.

## Calibration(Batch)
70 | Fmoc F3 F50
Sample Name: |  | Fmoc F3 F50 |  |  |  | Injection Volume: |  | 5
Vial Number: |  | RB3 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-07 10:01 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Cal.Type | Points | Coeff.Det. | Offset | Slope | Curve
| min |  |  |  | %
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Average: |  |  |  |  | n.a. | n.a. | n.a. | n.a.

## Peak Analysis
70 | Fmoc F3 F50
Sample Name: |  | Fmoc F3 F50 |  |  |  | Injection Volume: |  | 5
Vial Number: |  | RB3 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-07 10:01 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Zeit | Peakname | Height | Width | Type | Resol. | Asym. | Plates
| min |  | mAU | min |  | (EP) | (EP) | (EP)
n.a. | n.a. | Peak 1 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Average: |  |  | n.a. | n.a. |  | n.a. | n.a. | n.a.

## SST
70 | Fmoc F3 F50
Sample Name: |  | Fmoc F3 F50 |  | Injection Volume: | 5
Vial Number: |  | RB3 |  | Channel: | UV_VIS_1
Sample Type: |  | unknown |  | Wavelength: | 215.0
Control Program: |  | C4 St G 14min ny |  | Bandwidth: | 2
Quantif. Method: |  | kso 1 |  | Dilution Factor: | 1
Recording Time: |  | 2020-12-07 10:01 |  | Sample Weight: | 1
Run Time (min): |  | 14 |  | Sample Amount: | 1
System Suitability Test Results:
No. | Test Name |  | Sample Condition | Peak Condition | Test Result
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
|  | Number of executed single tests: | #N/A | Total test result: | #N/A

## MS (Curr.Peak)
70 | Fmoc F3 F50
Sample Name: |  | Fmoc F3 F50 |  |  |  | Injection Volume: |  | 5
Vial Number: |  | RB3 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Mass Range: |  | n.a.
Control Program: |  | C4 St G 14min ny |  |  |  | Polarity: |  | n.a.
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-07 10:01 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Base Peak | Int. Base | Peak 1 | Peak 2 | Peak 3 | Int. Peaks
| min |  | amu | counts | amu | amu | amu | delta%
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
[7 empty] | Average delta% from expected Intensity: | n.a.

## MS (Batch)
70 | Fmoc F3 F50
Sample Name: |  | Fmoc F3 F50 |  |  |  | Injection Volume: |  | 5
Vial Number: |  | RB3 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Mass Range: |  | n.a.
Control Program: |  | C4 St G 14min ny |  |  |  | Polarity: |  | n.a.
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-07 10:01 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Base Peak | Int. Base | Peak 1 | Peak 2 | Peak 3 | Int. Peaks
| min |  | amu | counts | amu | amu | amu | delta%
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
[7 empty] | Average delta% from expected Intensity: | n.a.

## Purity (Curr.Peak)
70 | Fmoc F3 F50
Sample Name: |  | Fmoc F3 F50 |  |  |  | Injection Volume: |  | 5
Vial Number: |  | RB3 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-07 10:01 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Area | Height | Match | RSD Match | PPI | RSD PPI
| min |  | mAU*min | mAU |  | % | nm | %
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total |  |  | 0 | 0

## Purity (Batch)
70 | Fmoc F3 F50
Sample Name: |  | Fmoc F3 F50 |  |  |  | Injection Volume: |  | 5
Vial Number: |  | RB3 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-07 10:01 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Area | Height | Match | RSD Match | PPI | RSD PPI
| min |  | mAU*min | mAU |  | % | nm | %
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total |  |  | 0 | 0

## Lib Search
70 | Fmoc F3 F50
Sample Name: |  | Fmoc F3 F50 |  |  | Injection Volume: |  | 5
Vial Number: |  | RB3 |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-07 10:01 |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Height | Spectrum Name |  | Lib.Name | Match
| min |  | mAU | in Library |  |  | with Lib
n.a. | n.a. | n.a. | n.a. | n.a. |  | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. |  | n.a. | n.a.
Total: |  |  | 0 |  |  |  | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.

## Audit Trail
70 | Fmoc F3 F50 |  |  | Audit Trail
Sample Name: |  | Fmoc F3 F50 | Injection Volume: |  | 5
Vial Number: |  | RB3 | Channel: |  | UV_VIS_1
Sample Type: |  | unknown | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-07 10:01 | Sample Weight: |  | 1
Run Time (min): |  | 14 | Sample Amount: |  | 1
Day Time | Ret.Time | Command/Message
10:00:28 |  | Audit trail of sample SMP::\KUNDERDINGUD_local\Super New Users\NKM\NKM KP.SEQ\19520. Executed 2020/12/7 on timebase KUNDERDINGUD_1 (server KUNDERDINGUD).
10:00:28 |  | Start of sample 70 "Fmoc F3 F50", using program "C4 St G 14min ny".
10:00:28 | 0.000 | Pressure.LowerLimit = 5
10:00:28 | 0.000 | TempCtrl = On
10:00:28 | 0.000 | Temperature.Nominal = 42.0
10:00:28 | 0.000 | Temperature.LowerLimit = 40.0
10:00:28 | 0.000 | Temperature.UpperLimit = 44.0
10:00:28 | 0.000 | EquilibrationTime = 5.0
10:00:28 | 0.000 | ReadyTempDelta = 2.0
10:00:28 | 0.000 | Pressure.UpperLimit = 300
10:00:28 | 0.000 | MaximumFlowRampDown = 5.998
10:00:28 | 0.000 | MaximumFlowRampUp = 6.000
10:00:28 | 0.000 | %A.Equate = "%A"
10:00:28 | 0.000 | %B.Equate = "%B"
10:00:28 | 0.000 | %C.Equate = "%C"
10:00:28 | 0.000 | %D.Equate = "%D"
10:00:28 | 0.000 | DrawSpeed = 5.000
10:00:28 | 0.000 | DrawDelay = 3000
10:00:28 | 0.000 | DispSpeed = 20.000
10:00:28 | 0.000 | DispenseDelay = 0
10:00:28 | 0.000 | WasteSpeed = 32.000
10:00:28 | 0.000 | SampleHeight = 2.000
10:00:28 | 0.000 | InjectWash = BeforeInj
10:00:28 | 0.000 | WashVolume = 100.000
10:00:28 | 0.000 | WashSpeed = 20.000
10:00:28 | 0.000 | LoopWashFactor = 2.000
10:00:28 | 0.000 | PunctureOffset = 0.0
10:00:28 | 0.000 | PumpDevice = "Pump"
10:00:28 | 0.000 | InjectMode = Normal
10:00:28 | 0.000 | Data_Collection_Rate = 50.0
10:00:28 | 0.000 | ResponseTime = 2.000
10:00:28 | 0.000 | MS_01.FilterIndex = 0
10:00:28 | 0.000 | Range = 6
10:00:28 | 0.000 | Smoothing = None
10:00:28 | 0.000 | UV_VIS_1.Wavelength = 215.0
10:00:28 | 0.000 | UV_VIS_1.Bandwidth = 2
10:00:28 | 0.000 | UV_VIS_1.RefWavelength = Off
10:00:28 | 0.000 | UV_VIS_1.RefBandwidth = 10
10:00:28 | 0.000 | UV_VIS_2.Wavelength = 254.0
10:00:28 | 0.000 | UV_VIS_2.Bandwidth = 4
10:00:28 | 0.000 | UV_VIS_2.RefWavelength = Off
10:00:28 | 0.000 | UV_VIS_2.RefBandwidth = 1
10:00:28 | 0.000 | UV_VIS_3.Wavelength = 280.0
10:00:28 | 0.000 | UV_VIS_3.Bandwidth = 4
10:00:28 | 0.000 | UV_VIS_3.RefWavelength = Off
10:00:28 | 0.000 | UV_VIS_3.RefBandwidth = 1
10:00:28 | 0.000 | 3DFIELD.RefWavelength = Off
10:00:28 | 0.000 | 3DFIELD.RefBandwidth = 1
10:00:28 | 0.000 | 3DFIELD.MinWavelength = 190.0
10:00:28 | 0.000 | 3DFIELD.MaxWavelength = 800.0
10:00:28 | 0.000 | 3DFIELD.BunchWidth = 1
10:00:28 | 0.000 | Valve.Position = 2
10:00:28 | 0.000 | Autozero
10:00:28 | 0.000 | Flow = 1.000
10:00:28 | 0.000 | %B = 5.0
10:00:28 | 0.000 | %C = 0.0
10:00:28 | 0.000 | %D = 0.0
10:00:28 | 0.000 | Wait UV.Ready and MS.Ready and ColumnOven.Ready and Sampler.Ready
10:00:28 | 0.000 | Using ThermoFinnigan Surveyor MSQ/MSQ Plus method file 'C:\Chromel\data\Super New Users\NKM\NKM KP.SEQ\C4 St G 14min ny.meth'
10:00:28 | 0.000 | Submitted ThermoFinnigan Surveyor MSQ/MSQ Plus sequence file 'C:\Chromel\data\Super New Users\NKM\NKM KP.SEQ\XRAW.CHL\19520.sld'
10:00:28 | 0.000 | Method check OK.
10:00:28 | 0.000 | Queued new sequence.
10:00:28 | 0.000 | Sequence opened.
10:00:28 | 0.000 | Sequence change.
10:00:28 | 0.000 | Download initiated.
10:00:29 | 0.000 | State change.
10:00:31 | 0.000 | VD state change.
10:00:31 | 0.000 | State change.
10:00:31 | 0.000 | Status change: Old state: Ready to Download, New state: Ready for Run.
10:00:31 | 0.000 | Download completed.
10:00:33 | 0.000 | State change.
10:00:33 | 0.000 | All devices are ready to be started.
10:00:33 | 0.000 | State change.
10:00:33 | 0.000 | Start command sent.
10:00:35 | 0.000 | VD state change.
10:00:35 | 0.000 | Status change: Old state: Ready for Run, New state: Waiting for Start Trigger.
10:00:38 | 0.000 | Wait finished
10:00:38 | 0.000 | Inject
10:00:38 | 0.000 | Injecting from vial position RB3.
10:00:38 | 0.000 | Injection Volume is 5.000 µl.
10:00:38 | 0.000 | Waiting for inject response on UM3WPSInjectState1.
10:01:19 | 0.000 | Got inject response.
10:01:19 | 0.000 | UV_VIS_1.AcqOn
10:01:19 | 0.000 | Relay_1.Duration = 0.50
10:01:19 | 0.000 | UV_VIS_2.AcqOn
10:01:19 | 0.000 | UV_VIS_3.AcqOn
10:01:19 | 0.000 | 3DFIELD.AcqOn
10:01:19 | 0.000 | Flow = 1.000
10:01:19 | 0.000 | %B = 5.0
10:01:19 | 0.000 | %C = 0.0
10:01:19 | 0.000 | %D = 0.0
10:01:23 | 0.066 | VD state change.
10:01:23 | 0.066 | State change.
10:01:23 | 0.066 | Status change: Old state: Waiting for Start Trigger, New state: Running.
10:01:25 | 0.099 | Starting MS data acquisition.
10:02:19 | 1.000 | Flow = 1.000
10:02:19 | 1.000 | %B Gradient Start = 5.0, End = 100.0, Duration = 9.000
10:02:19 | 1.000 | %C = 0.0
10:02:19 | 1.000 | %D = 0.0
10:04:49 | 3.500 | Valve.Position = 1
10:11:19 | 10.000 | Flow = 1.000
10:11:19 | 10.000 | %B = 100.0
10:11:19 | 10.000 | %C = 0.0
10:11:19 | 10.000 | %D = 0.0
10:13:19 | 12.000 | Flow = 1.000
10:13:19 | 12.000 | %B Gradient Start = 100.0, End = 5.0, Duration = 0.500
10:13:19 | 12.000 | %C = 0.0
10:13:19 | 12.000 | %D = 0.0
10:13:49 | 12.500 | Flow = 1.000
10:13:49 | 12.500 | %B = 5.0
10:13:49 | 12.500 | %C = 0.0
10:13:49 | 12.500 | %D = 0.0
10:15:19 | 14.000 | Flow = 1.000
10:15:19 | 14.000 | UV_VIS_1.AcqOff
10:15:19 | 14.000 | UV_VIS_2.AcqOff
10:15:19 | 14.000 | UV_VIS_3.AcqOff
10:15:19 | 14.000 | 3DFIELD.AcqOff
10:15:19 | 14.000 | %B = 5.0
10:15:19 | 14.000 | %C = 0.0
10:15:19 | 14.000 | %D = 0.0
10:15:21 | 14.033 | VD state change.
10:15:21 | 14.033 | Status change: Old state: Running, New state: Post Run.
10:15:21 | 14.033 | Finishing MS data acquisition.
10:15:21 | 14.033 | Reextracting...
10:15:22 | 14.050 | State change.
10:15:22 | 14.051 | Run ended.
10:15:22 | 14.051 | Started processing.
10:15:22 | 14.051 | Sequence closed.
10:15:22 | 14.051 | Sequence change.
10:15:22 | 14.051 | VD state change.
10:15:22 | 14.051 | Status change: Old state: Post Run, New state: Ready to Download.
10:15:24 | 14.084 | State change.
10:15:24 | 14.086 | Terminating program PGM::\KUNDERDINGUD_local\Super New Users\NKM\NKM KP.SEQ\C4 St G 14min ny. Waiting for instrument to finish processing of current sample ...
10:15:24 | 14.086 | OK to terminate program PGM::\KUNDERDINGUD_local\Super New Users\NKM\NKM KP.SEQ\C4 St G 14min ny.
10:15:24 | 14.086 | Terminating program PGM::\KUNDERDINGUD_local\Super New Users\NKM\NKM KP.SEQ\C4 St G 14min ny. Waiting for instrument to finish processing of current sample ...
10:15:24 | 14.086 | OK to terminate program PGM::\KUNDERDINGUD_local\Super New Users\NKM\NKM KP.SEQ\C4 St G 14min ny.
10:15:24 |  | End of sample "Fmoc F3 F50".

## Overlay Print
Overlay of Samples from Integration View

## Recovered_Sheet1
Overlay of Samples and Spectra from Integration View