## Integration
120 | NKM 20 F25
Sample Name: |  | NKM 20 F25 |  |  | Injection Volume: |  | 10
Vial Number: |  | RB6 |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-29 13:12 |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Height | Area | Rel.Area | Amount | Type
| min |  | mAU | mAU*min | %
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 0 | 0 | 0 | 0

## Calibration(Curr.Peak)
120 | NKM 20 F25
Sample Name: |  | NKM 20 F25 |  |  |  | Injection Volume: |  | 10
Vial Number: |  | RB6 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-29 13:12 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Cal.Type | Points | Coeff.Det. | Offset | Slope | Curve
| min |  |  |  | %
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Average: |  |  |  |  | n.a. | n.a. | n.a. | n.a.

## Calibration(Batch)
120 | NKM 20 F25
Sample Name: |  | NKM 20 F25 |  |  |  | Injection Volume: |  | 10
Vial Number: |  | RB6 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-29 13:12 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Cal.Type | Points | Coeff.Det. | Offset | Slope | Curve
| min |  |  |  | %
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Average: |  |  |  |  | n.a. | n.a. | n.a. | n.a.

## Peak Analysis
120 | NKM 20 F25
Sample Name: |  | NKM 20 F25 |  |  |  | Injection Volume: |  | 10
Vial Number: |  | RB6 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-29 13:12 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Zeit | Peakname | Height | Width | Type | Resol. | Asym. | Plates
| min |  | mAU | min |  | (EP) | (EP) | (EP)
n.a. | n.a. | Peak 1 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Average: |  |  | n.a. | n.a. |  | n.a. | n.a. | n.a.

## SST
120 | NKM 20 F25
Sample Name: |  | NKM 20 F25 |  | Injection Volume: | 10
Vial Number: |  | RB6 |  | Channel: | UV_VIS_1
Sample Type: |  | unknown |  | Wavelength: | 215.0
Control Program: |  | C4 St G 14min ny |  | Bandwidth: | 2
Quantif. Method: |  | kso 1 |  | Dilution Factor: | 1
Recording Time: |  | 2020-12-29 13:12 |  | Sample Weight: | 1
Run Time (min): |  | 14 |  | Sample Amount: | 1
System Suitability Test Results:
No. | Test Name |  | Sample Condition | Peak Condition | Test Result
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
|  | Number of executed single tests: | #N/A | Total test result: | #N/A

## MS (Curr.Peak)
120 | NKM 20 F25
Sample Name: |  | NKM 20 F25 |  |  |  | Injection Volume: |  | 10
Vial Number: |  | RB6 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Mass Range: |  | n.a.
Control Program: |  | C4 St G 14min ny |  |  |  | Polarity: |  | n.a.
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-29 13:12 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Base Peak | Int. Base | Peak 1 | Peak 2 | Peak 3 | Int. Peaks
| min |  | amu | counts | amu | amu | amu | delta%
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
[7 empty] | Average delta% from expected Intensity: | n.a.

## MS (Batch)
120 | NKM 20 F25
Sample Name: |  | NKM 20 F25 |  |  |  | Injection Volume: |  | 10
Vial Number: |  | RB6 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Mass Range: |  | n.a.
Control Program: |  | C4 St G 14min ny |  |  |  | Polarity: |  | n.a.
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-29 13:12 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Base Peak | Int. Base | Peak 1 | Peak 2 | Peak 3 | Int. Peaks
| min |  | amu | counts | amu | amu | amu | delta%
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
[7 empty] | Average delta% from expected Intensity: | n.a.

## Purity (Curr.Peak)
120 | NKM 20 F25
Sample Name: |  | NKM 20 F25 |  |  |  | Injection Volume: |  | 10
Vial Number: |  | RB6 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-29 13:12 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Area | Height | Match | RSD Match | PPI | RSD PPI
| min |  | mAU*min | mAU |  | % | nm | %
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total |  |  | 0 | 0

## Purity (Batch)
120 | NKM 20 F25
Sample Name: |  | NKM 20 F25 |  |  |  | Injection Volume: |  | 10
Vial Number: |  | RB6 |  |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-29 13:12 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Area | Height | Match | RSD Match | PPI | RSD PPI
| min |  | mAU*min | mAU |  | % | nm | %
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total |  |  | 0 | 0

## Lib Search
120 | NKM 20 F25
Sample Name: |  | NKM 20 F25 |  |  | Injection Volume: |  | 10
Vial Number: |  | RB6 |  |  | Channel: |  | UV_VIS_1
Sample Type: |  | unknown |  |  | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny |  |  | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-29 13:12 |  |  | Sample Weight: |  | 1
Run Time (min): |  | 14 |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Height | Spectrum Name |  | Lib.Name | Match
| min |  | mAU | in Library |  |  | with Lib
n.a. | n.a. | n.a. | n.a. | n.a. |  | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. |  | n.a. | n.a.
Total: |  |  | 0 |  |  |  | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.

## Audit Trail
120 | NKM 20 F25 |  |  | Audit Trail
Sample Name: |  | NKM 20 F25 | Injection Volume: |  | 10
Vial Number: |  | RB6 | Channel: |  | UV_VIS_1
Sample Type: |  | unknown | Wavelength: |  | 215.0
Control Program: |  | C4 St G 14min ny | Bandwidth: |  | 2
Quantif. Method: |  | kso 1 | Dilution Factor: |  | 1
Recording Time: |  | 2020-12-29 13:12 | Sample Weight: |  | 1
Run Time (min): |  | 14 | Sample Amount: |  | 1
Day Time | Ret.Time | Command/Message
13:10:52 |  | Audit trail of sample SMP::\KUNDERDINGUD_local\Super New Users\NKM\NKM KP.SEQ\7672. Executed 2020/12/29 on timebase KUNDERDINGUD_1 (server KUNDERDINGUD).
13:10:52 |  | Start of sample 120 "NKM 20 F25", using program "C4 St G 14min ny".
13:10:52 | 0.000 | Pressure.LowerLimit = 5
13:10:52 | 0.000 | TempCtrl = On
13:10:52 | 0.000 | Temperature.Nominal = 42.0
13:10:52 | 0.000 | Temperature.LowerLimit = 40.0
13:10:52 | 0.000 | Temperature.UpperLimit = 44.0
13:10:52 | 0.000 | EquilibrationTime = 5.0
13:10:52 | 0.000 | ReadyTempDelta = 2.0
13:10:52 | 0.000 | Pressure.UpperLimit = 300
13:10:52 | 0.000 | MaximumFlowRampDown = 5.998
13:10:52 | 0.000 | MaximumFlowRampUp = 6.000
13:10:52 | 0.000 | %A.Equate = "%A"
13:10:52 | 0.000 | %B.Equate = "%B"
13:10:52 | 0.000 | %C.Equate = "%C"
13:10:52 | 0.000 | %D.Equate = "%D"
13:10:52 | 0.000 | DrawSpeed = 5.000
13:10:52 | 0.000 | DrawDelay = 3000
13:10:52 | 0.000 | DispSpeed = 20.000
13:10:52 | 0.000 | DispenseDelay = 0
13:10:52 | 0.000 | WasteSpeed = 32.000
13:10:52 | 0.000 | SampleHeight = 2.000
13:10:52 | 0.000 | InjectWash = BeforeInj
13:10:52 | 0.000 | WashVolume = 100.000
13:10:52 | 0.000 | WashSpeed = 20.000
13:10:52 | 0.000 | LoopWashFactor = 2.000
13:10:52 | 0.000 | PunctureOffset = 0.0
13:10:52 | 0.000 | PumpDevice = "Pump"
13:10:52 | 0.000 | InjectMode = Normal
13:10:52 | 0.000 | Data_Collection_Rate = 50.0
13:10:52 | 0.000 | ResponseTime = 2.000
13:10:52 | 0.000 | MS_01.FilterIndex = 0
13:10:52 | 0.000 | Range = 6
13:10:52 | 0.000 | Smoothing = None
13:10:52 | 0.000 | UV_VIS_1.Wavelength = 215.0
13:10:52 | 0.000 | UV_VIS_1.Bandwidth = 2
13:10:52 | 0.000 | UV_VIS_1.RefWavelength = Off
13:10:52 | 0.000 | UV_VIS_1.RefBandwidth = 10
13:10:52 | 0.000 | UV_VIS_2.Wavelength = 254.0
13:10:52 | 0.000 | UV_VIS_2.Bandwidth = 4
13:10:52 | 0.000 | UV_VIS_2.RefWavelength = Off
13:10:52 | 0.000 | UV_VIS_2.RefBandwidth = 1
13:10:52 | 0.000 | UV_VIS_3.Wavelength = 280.0
13:10:52 | 0.000 | UV_VIS_3.Bandwidth = 4
13:10:52 | 0.000 | UV_VIS_3.RefWavelength = Off
13:10:52 | 0.000 | UV_VIS_3.RefBandwidth = 1
13:10:52 | 0.000 | 3DFIELD.RefWavelength = Off
13:10:52 | 0.000 | 3DFIELD.RefBandwidth = 1
13:10:52 | 0.000 | 3DFIELD.MinWavelength = 190.0
13:10:52 | 0.000 | 3DFIELD.MaxWavelength = 800.0
13:10:52 | 0.000 | 3DFIELD.BunchWidth = 1
13:10:52 | 0.000 | Valve.Position = 2
13:10:52 | 0.000 | Autozero
13:10:52 | 0.000 | Flow = 1.000
13:10:52 | 0.000 | %B = 5.0
13:10:52 | 0.000 | %C = 0.0
13:10:52 | 0.000 | %D = 0.0
13:10:52 | 0.000 | Wait UV.Ready and MS.Ready and ColumnOven.Ready and Sampler.Ready
13:10:52 | 0.000 | Using ThermoFinnigan Surveyor MSQ/MSQ Plus method file 'C:\Chromel\data\Super New Users\NKM\NKM KP.SEQ\C4 St G 14min ny.meth'
13:10:52 | 0.000 | Submitted ThermoFinnigan Surveyor MSQ/MSQ Plus sequence file 'C:\Chromel\data\Super New Users\NKM\NKM KP.SEQ\XRAW.CHL\7672.sld'
13:10:52 | 0.000 | Method check OK.
13:10:52 | 0.000 | Queued new sequence.
13:10:52 | 0.000 | Sequence opened.
13:10:52 | 0.000 | Sequence change.
13:10:52 | 0.000 | Download initiated.
13:10:52 | 0.000 | State change.
13:10:54 | 0.000 | VD state change.
13:10:54 | 0.000 | State change.
13:10:54 | 0.000 | Status change: Old state: Ready to Download, New state: Preparing for Run.
13:10:54 | 0.000 | Download completed.
13:10:54 | 0.000 | State change.
13:10:54 | 0.000 | All devices are ready to be started.
13:10:54 | 0.000 | Status change: Old state: Preparing for Run, New state: Waiting for Start Trigger.
13:10:54 | 0.000 | State change.
13:10:54 | 0.000 | Start command sent.
13:10:54 | 0.000 | VD state change.
13:11:02 | 0.000 | Wait finished
13:11:02 | 0.000 | Inject
13:11:02 | 0.000 | Injecting from vial position RB6.
13:11:02 | 0.000 | Injection Volume is 10.000 µl.
13:11:02 | 0.000 | Waiting for inject response on UM3WPSInjectState1.
13:11:43 | 0.000 | Got inject response.
13:11:43 | 0.000 | UV_VIS_1.AcqOn
13:11:43 | 0.000 | Relay_1.Duration = 0.50
13:11:43 | 0.000 | UV_VIS_2.AcqOn
13:11:43 | 0.000 | UV_VIS_3.AcqOn
13:11:43 | 0.000 | 3DFIELD.AcqOn
13:11:43 | 0.000 | Flow = 1.000
13:11:43 | 0.000 | %B = 5.0
13:11:43 | 0.000 | %C = 0.0
13:11:43 | 0.000 | %D = 0.0
13:11:46 | 0.058 | VD state change.
13:11:46 | 0.058 | State change.
13:11:46 | 0.058 | Status change: Old state: Waiting for Start Trigger, New state: Running.
13:11:48 | 0.091 | Starting MS data acquisition.
13:12:43 | 1.000 | Flow = 1.000
13:12:43 | 1.000 | %B Gradient Start = 5.0, End = 100.0, Duration = 9.000
13:12:43 | 1.000 | %C = 0.0
13:12:43 | 1.000 | %D = 0.0
13:15:13 | 3.500 | Valve.Position = 1
13:21:43 | 10.000 | Flow = 1.000
13:21:43 | 10.000 | %B = 100.0
13:21:43 | 10.000 | %C = 0.0
13:21:43 | 10.000 | %D = 0.0
13:23:43 | 12.000 | Flow = 1.000
13:23:43 | 12.000 | %B Gradient Start = 100.0, End = 5.0, Duration = 0.500
13:23:43 | 12.000 | %C = 0.0
13:23:43 | 12.000 | %D = 0.0
13:24:13 | 12.500 | Flow = 1.000
13:24:13 | 12.500 | %B = 5.0
13:24:13 | 12.500 | %C = 0.0
13:24:13 | 12.500 | %D = 0.0
13:25:43 | 14.000 | Flow = 1.000
13:25:43 | 14.000 | UV_VIS_1.AcqOff
13:25:43 | 14.000 | UV_VIS_2.AcqOff
13:25:43 | 14.000 | UV_VIS_3.AcqOff
13:25:43 | 14.000 | 3DFIELD.AcqOff
13:25:43 | 14.000 | %B = 5.0
13:25:43 | 14.000 | %C = 0.0
13:25:43 | 14.000 | %D = 0.0
13:25:46 | 14.064 | VD state change.
13:25:46 | 14.064 | Finishing MS data acquisition.
13:25:46 | 14.064 | Reextracting...
13:25:48 | 14.081 | Status change: Old state: Running, New state: Post Run.
13:25:48 | 14.081 | State change.
13:25:48 | 14.082 | Run ended.
13:25:48 | 14.082 | Started processing.
13:25:48 | 14.082 | Sequence closed.
13:25:48 | 14.082 | Sequence change.
13:25:48 | 14.083 | VD state change.
13:25:48 | 14.083 | Status change: Old state: Post Run, New state: Ready to Download.
13:25:48 | 14.086 | Terminating program PGM::\KUNDERDINGUD_local\Super New Users\NKM\NKM KP.SEQ\C4 St G 14min ny. Waiting for instrument to finish processing of current sample ...
13:25:48 | 14.086 | OK to terminate program PGM::\KUNDERDINGUD_local\Super New Users\NKM\NKM KP.SEQ\C4 St G 14min ny.
13:25:48 |  | End of sample "NKM 20 F25".

## Overlay Print
Overlay of Samples from Integration View

## Recovered_Sheet1
Overlay of Samples and Spectra from Integration View